Electrical Hazards Risk Assessment

Comprehensive evaluation of electrical hazards and control measures

Low Risk (1-3)

Medium Risk (4-8)

High Risk (9-14)

Extreme Risk (15-25)

| Hazard | Risk | Individuals at Risk | L | S | R | Control Measures | L | S | R |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Electric shock (exposed wires, faulty circuits) | Severe burns, electrocution, fatal injuries | Electricians, maintenance staff | 5 | 5 | 25 | - Use insulated tools and PPE - Conduct regular electrical inspections - Label high-voltage areas - Keep emergency shutoffs accessible - Train staff on electrical safety - Secure exposed wires - Ensure proper grounding of equipment | 2 | 2 | 4 |
| Fire hazard (overloaded circuits, faulty wiring) | Fire, burns, property damage | Electricians, maintenance staff | 5 | 5 | 25 | - Install fire suppression systems - Keep fire extinguishers accessible - Conduct fire safety training - Inspect wiring regularly - Avoid overloading circuits - Use surge protectors - Implement fire-resistant cable management | 2 | 2 | 4 |
| Overheating of electrical equipment | Equipment failure, overheating fire risk | Electricians, maintenance staff | 5 | 4 | 20 | - Ensure proper ventilation - Monitor equipment temperatures - Use cooling fans where needed - Train staff on overheating risks - Keep electrical panels unobstructed - Conduct routine inspections - Implement automatic shutdown systems | 2 | 2 | 4 |
| Unauthorized access | Security threats, unauthorized tampering | Electricians, unauthorized personnel | 4 | 4 | 16 | - Restrict access to authorized personnel - Use access control systems (keycards, biometrics) - Install surveillance cameras - Implement visitor logging - Train staff on security protocols - Conduct security audits - Secure all entry points | 2 | 2 | 4 |
| Slip and trip hazards (cables, restricted spaces) | Falls, fractures, injuries | Electricians, maintenance staff | 4 | 3 | 12 | - Organize cables and secure pathways - Use cable trays and floor covers - Keep floor space clear - Conduct regular inspections - Train staff on movement safety - Use signage for high-risk areas - Store tools and equipment properly | 2 | 2 | 4 |
| Poor ventilation | Overheating, respiratory issues | Electricians, maintenance staff | 4 | 4 | 16 | - Maintain HVAC systems - Regularly clean air vents - Install exhaust fans - Monitor humidity levels - Conduct air quality tests - Train staff on ventilation importance - Ensure emergency ventilation backup | 2 | 2 | 4 |
| Arc flash explosion | Severe burns, equipment destruction | Electricians, maintenance staff | 5 | 5 | 25 | - Use arc flash protective gear - Install arc flash shields - Label high-risk areas - Conduct arc flash risk assessments - Train staff on arc flash dangers - Maintain proper grounding - Inspect electrical panels regularly | 2 | 2 | 4 |
| Manual handling injuries (lifting heavy equipment) | Back injuries, muscle strain | Electricians, maintenance staff | 4 | 4 | 16 | - Provide lifting aids and trolleys - Train staff on proper lifting techniques - Avoid single-person heavy lifting - Store heavy items at waist level - Use ergonomic lifting practices - Monitor for injuries - Schedule manual handling training | 2 | 2 | 4 |
| Blocked emergency exits | Danger in emergency situations | Electricians, emergency responders | 5 | 5 | 25 | - Keep emergency exits clear - Install emergency lighting - Conduct regular evacuation drills - Train staff on emergency response - Use clear signage for exits - Monitor exit pathways - Ensure quick access to first responders | 2 | 2 | 4 |
| Faulty electrical panels | Electric shock, short circuits | Electricians, maintenance staff | 4 | 4 | 16 | - Conduct routine electrical panel maintenance - Label circuits properly - Inspect for loose connections - Train staff on panel safety - Use proper insulation materials - Keep panels free from dust and obstructions - Ensure panels are locked | 2 | 2 | 4 |
| Dust accumulation (fire risk, poor cooling) | Fire, poor air quality, overheating | Electricians, maintenance staff | 3 | 3 | 9 | - Regularly clean electrical room - Use dust filters on cooling systems - Maintain proper air circulation - Monitor dust accumulation - Implement dust-free flooring - Conduct routine cleaning - Use static-free cleaning materials | 2 | 2 | 4 |
| Power failure (critical system shutdown) | System failure, data loss, safety risks | Electricians, IT staff | 5 | 5 | 25 | - Install UPS and backup power systems - Conduct regular power failure drills - Train staff on power outage response - Use surge protectors - Implement redundancy plans - Monitor power loads - Conduct risk assessments | 2 | 2 | 4 |
| Improper waste disposal (damaged electrical components) | Environmental hazards, fire risks | Electricians, waste management staff | 4 | 3 | 12 | - Follow legal e-waste disposal regulations - Use proper disposal bins - Train staff on hazardous waste handling - Partner with certified e-waste recyclers - Maintain waste disposal logs - Conduct regular waste audits - Store waste securely | 2 | 2 | 4 |
| Insufficient lighting | Reduced visibility, operational errors | Electricians, maintenance staff | 3 | 3 | 9 | - Ensure adequate lighting in all areas - Replace faulty bulbs immediately - Conduct regular lighting checks - Provide emergency lighting - Install motion-sensor lighting - Monitor visibility conditions - Optimize lighting layout | 2 | 2 | 4 |
| Noise pollution (humming transformers, alarms) | Hearing discomfort, long-term hearing issues | Electricians, maintenance staff | 3 | 3 | 9 | - Use noise-reducing materials - Train staff on hearing protection - Limit exposure time in loud environments - Install noise-canceling panels - Provide noise cancellation headsets - Monitor noise levels - Conduct regular noise assessments | 2 | 2 | 4 |

Risk Assessment Matrix: L = Likelihood, S = Severity, R = Risk Rating (L × S)

Assessment Date: 1/27/2026