Laboratory Risk Assessment

Comprehensive evaluation of laboratory hazards and control measures

Low Risk (1-3)

Medium Risk (4-8)

High Risk (9-14)

Extreme Risk (15-25)

| Hazard | Risk | Individuals at Risk | L | S | R | Control Measures | L | S | R |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chemical spills | Skin burns, inhalation risk | Students, teachers, lab staff | 5 | 4 | 20 | - Use spill kits immediately - Wear gloves and goggles - Store chemicals safely - Use fume hoods - Train students on handling - Keep emergency wash stations - Dispose of chemicals properly | 2 | 2 | 4 |
| Glass breakage | Cuts, injuries | Students, teachers, lab staff | 4 | 3 | 12 | - Handle glassware with care - Dispose of broken glass safely - Use protective gloves - Keep workstations organized - Regular inspections - Provide first aid kits - Educate students | 2 | 2 | 4 |
| Fire hazard | Fire, burns, property damage | Everyone in lab | 5 | 5 | 25 | - Keep flammable items away from flames - Install fire extinguishers - Conduct fire drills - Train students on fire safety - Maintain emergency exits - Monitor use of flames - Use fire-resistant materials | 2 | 2 | 4 |
| Gas leaks | Asphyxiation, explosion risk | Everyone in lab | 5 | 5 | 25 | - Check gas connections regularly - Turn off gas when not in use - Ensure proper ventilation - Educate students on leaks - Keep emergency shutoff valves - No open flames near gas - Use gas detectors | 2 | 2 | 4 |
| Explosion risk | Serious burns, lab damage | Everyone in lab | 5 | 5 | 25 | - Use explosion-proof storage - Monitor pressure containers - Train students on safety - Keep ignition sources away - Use protective barriers - Maintain proper ventilation - Conduct safety drills | 2 | 2 | 4 |
| Toxic fumes | Respiratory issues, poisoning | Students, teachers, lab staff | 5 | 4 | 20 | - Ensure proper ventilation - Use masks when needed - Work with chemicals under fume hoods - Limit exposure time - Dispose of chemicals safely - Keep breathing spaces clear - Educate students on risks | 2 | 2 | 4 |
| Corrosive chemicals | Skin burns, tissue damage | Students, teachers, lab staff | 5 | 5 | 25 | - Wear protective gloves and aprons - Use proper chemical handling techniques - Train students on safety - Provide emergency wash stations - Store corrosive chemicals separately - Use warning labels - Keep emergency kits available | 2 | 2 | 4 |
| Flammable substances | Fire, explosion | Everyone in lab | 5 | 5 | 25 | - Store flammable substances properly - Keep away from ignition sources - Use fire extinguishers nearby - Train students on fire safety - Monitor storage temperature - Dispose of flammable waste safely - Conduct regular safety audits | 2 | 2 | 4 |
| Electric shock | Severe injury, electrocution | Students, teachers, lab staff | 4 | 4 | 16 | - Inspect electrical wiring regularly - Avoid water near sockets - Label high-risk areas - Use only safe electrical devices - Train students on electrical safety - Keep emergency shutoffs accessible - Use surge protectors | 2 | 2 | 4 |
| Improper chemical storage | Chemical reactions, toxic exposure | Students, teachers, lab staff | 5 | 5 | 25 | - Label and store chemicals properly - Keep incompatible chemicals separate - Train students on storage rules - Use appropriate containers - Check expiration dates - Monitor temperature conditions - Use secure storage cabinets | 2 | 2 | 4 |
| Inhalation of hazardous gases | Breathing problems, poisoning | Students, teachers, lab staff | 5 | 5 | 25 | - Ensure proper airflow - Keep windows and vents open - Use air purifiers - Monitor chemical fumes - Train students on air safety - Maintain ventilation systems - Schedule regular maintenance | 2 | 2 | 4 |
| Eye exposure to chemicals | Eye irritation, blindness | Students, teachers | 5 | 5 | 25 | - Always wear safety goggles - Provide eyewash stations - Train students on chemical safety - Use fume hoods when needed - Handle chemicals carefully - Report spills immediately - Use protective barriers | 2 | 2 | 4 |
| Improper waste disposal | Environmental damage, health risks | Everyone in lab | 4 | 3 | 12 | - Use proper disposal bins - Label all waste correctly - Train students on waste disposal - Keep hazardous waste separate - Follow disposal regulations - Monitor disposal practices - Keep lab organized | 2 | 2 | 4 |
| Burns from hot equipment | Severe burns, long-term injury | Students, teachers, lab staff | 5 | 5 | 25 | - Use heat-resistant gloves - Keep loose clothing away - Train students on burner and heater safety - Turn off equipment when not in use - Monitor usage of hot surfaces - Have emergency fire blankets - Install fire alarms | 2 | 2 | 4 |
| Overcrowding | Increased accident risk | Students, teachers | 4 | 3 | 12 | - Limit number of students per session - Arrange workspaces properly - Ensure clear emergency exits - Supervise lab work - Monitor student behavior - Use scheduling for lab use - Keep pathways clear | 2 | 2 | 4 |

Risk Assessment Matrix: L = Likelihood, S = Severity, R = Risk Rating (L × S)

Assessment Date: 1/27/2026