Noise Measurement Risk Assessment

Comprehensive evaluation of noise measurement hazards and control measures

Low Risk (1-3)

Medium Risk (4-8)

High Risk (9-14)

Extreme Risk (15-25)

| Hazard | Risk | Individuals at Risk | L | S | R | Control Measures | L | S | R |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Exposure to high noise levels | Hearing damage, stress | Staff performing measurement | 5 | 4 | 20 | - Provide hearing protection - Limit exposure times - Regular breaks - Noise barriers - Conduct regular hearing checks - Use noise-reducing equipment - Training on noise risks - Post clear signage | 3 | 2 | 6 |
| Miscommunication in high noise environments | Errors, accidents, injury | Staff, students, visitors | 4 | 4 | 16 | - Visual signals - Written instructions - Staff trained in high-noise communication - Regular drills - Immediate confirmations - Hand signals - Communication protocols - Regular team briefings | 2 | 2 | 4 |
| Incorrect use of noise measurement devices | Incorrect data, faulty assessments | Safety personnel, maintenance | 4 | 4 | 16 | - Staff training - Equipment calibration - Supervised measurements - Clear instruction manuals - Regular competency checks - Pre-measurement briefings - Calibration certificates - Reporting equipment issues promptly | 1 | 2 | 2 |
| Trip hazards from cables and equipment | Injury due to falls | Staff, visitors | 4 | 4 | 16 | - Proper cable management - Warning signs - Clear pathways - Secure cables - Regular area inspections - Use wireless devices if possible - Immediate hazard removal - Staff awareness training | 1 | 2 | 2 |
| Hearing impairment from prolonged exposure | Long-term hearing loss | Staff, measurement personnel | 5 | 5 | 25 | - Provide mandatory hearing protection - Limit noise exposure duration - Regular audiometric testing - Training on hearing protection - Noise-level monitoring - PPE compliance checks - Staff rotations - Health surveillance | 3 | 2 | 6 |
| Distraction causing safety incidents | Injuries, incorrect measurements | Measurement staff, nearby persons | 4 | 4 | 16 | - Clear work instructions - Staff trained in hazard recognition - Frequent safety briefings - Regular supervision - Clearly defined tasks - Emergency procedures trained - Structured measurement schedules - Safety audits | 1 | 2 | 2 |
| Insufficient use of hearing protection | Hearing damage, legal issues | All persons in noisy areas | 5 | 4 | 20 | - Provide appropriate PPE - Enforce mandatory PPE use - PPE training sessions - Regular checks on PPE - Immediate replacements - PPE signage - PPE storage and accessibility - Staff accountability for PPE usage | 3 | 2 | 6 |
| Unauthorized access to measurement areas | Safety breaches, potential injury | Staff, students, visitors | 4 | 4 | 16 | - Restricted access zones - Clear signage - Supervised entry - Physical barriers - CCTV surveillance - Staff training on access protocols - Access logs maintained - Security patrols | 1 | 2 | 2 |
| Inadequate supervision during noise measurement | Safety incidents, inaccurate data | Staff conducting measurements | 4 | 4 | 16 | - Assign dedicated supervisors - Regular inspections - Clear roles and responsibilities - Supervisor training - Communication protocols - Incident reporting procedures - Regular monitoring - Immediate incident interventions | 2 | 2 | 4 |
| Faulty or uncalibrated equipment | Inaccurate measurements, safety risk | Staff, measurement personnel | 5 | 4 | 20 | - Equipment checks pre-use - Calibration schedules maintained - Training in equipment checks - Immediate equipment replacement - Regular maintenance - Accurate documentation - Multiple readings taken - Regular audits | 3 | 2 | 6 |

Risk Assessment Matrix: L = Likelihood, S = Severity, R = Risk Rating (L × S)

Assessment Date: 1/27/2026