Server Room Risk Assessment

Comprehensive evaluation of server room hazards and control measures

Low Risk (1-3)

Medium Risk (4-8)

High Risk (9-14)

Extreme Risk (15-25)

| Hazard | Risk | Individuals at Risk | L | S | R | Control Measures | L | S | R |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Overheating of equipment | System failures, fire risk | IT staff, maintenance workers | 5 | 5 | 25 | - Install cooling systems (AC, ventilation) - Monitor temperature regularly - Use temperature alarm systems - Keep equipment spaced properly - Maintain airflow around racks - Train staff on overheating risks - Conduct routine inspections | 2 | 2 | 4 |
| Electrical hazards (faulty wiring, overloaded circuits) | Electric shock, fire | IT staff, maintenance workers | 5 | 4 | 20 | - Conduct regular electrical inspections - Use surge protectors - Avoid overloading circuits - Train staff on electrical safety - Label high-risk areas - Keep emergency shutoff switches accessible - Monitor power usage | 2 | 2 | 4 |
| Fire hazard (electrical components) | Fire, burns, data loss | IT staff, maintenance workers | 5 | 5 | 25 | - Install fire suppression systems - Keep fire extinguishers available - Use fire-resistant cables and materials - Conduct fire drills - Train staff on fire safety - Keep emergency exits clear - Implement automatic shutdown features | 2 | 2 | 4 |
| Unauthorized access | Data breaches, security risks | IT staff, unauthorized personnel | 4 | 4 | 16 | - Restrict access to authorized personnel - Use access control systems (keycards, biometrics) - Implement security monitoring - Train staff on data security - Keep logs of server room entry - Conduct security audits - Install surveillance cameras | 2 | 2 | 4 |
| Slip and trip hazards (cables, restricted spaces) | Falls, fractures, injuries | IT staff, maintenance workers | 4 | 3 | 12 | - Organize cables properly - Use cable trays and floor covers - Keep pathways clear - Conduct regular space assessments - Train staff on safe movement - Label hazardous areas - Secure loose objects | 2 | 2 | 4 |
| Poor ventilation | Overheating, hardware damage | IT staff | 4 | 4 | 16 | - Ensure proper airflow with HVAC systems - Regularly clean air vents - Monitor humidity levels - Train staff on ventilation maintenance - Install air filters - Conduct temperature checks - Service ventilation systems regularly | 2 | 2 | 4 |
| Data security risks (hardware failure, cyber threats) | Data loss, security vulnerabilities | IT staff | 5 | 5 | 25 | - Use firewalls and antivirus protection - Conduct routine data backups - Train staff on cybersecurity threats - Use encrypted storage methods - Monitor network security logs - Implement multi-factor authentication - Restrict access to critical data | 2 | 2 | 4 |
| Manual handling injuries (lifting heavy equipment) | Back injuries, muscle strain | IT staff, maintenance workers | 4 | 4 | 16 | - Provide lifting equipment for heavy items - Train staff on manual handling safety - Store heavy servers at lower levels - Avoid single-person heavy lifting - Use trolleys for transportation - Monitor staff injuries - Implement ergonomic lifting techniques | 2 | 2 | 4 |
| Poor lighting | Eye strain, difficulty working | IT staff | 3 | 3 | 9 | - Ensure proper lighting - Replace faulty bulbs immediately - Arrange server racks for optimal visibility - Conduct lighting inspections - Use LED lights for energy efficiency - Provide emergency lighting - Monitor staff comfort levels | 2 | 2 | 4 |
| Power failure | System shutdown, operational failure | IT staff, administrative staff | 5 | 5 | 25 | - Install UPS and backup generators - Regularly test power backup systems - Train staff on emergency shutdowns - Monitor power usage - Use surge protectors - Implement redundancy plans - Conduct risk assessments | 2 | 2 | 4 |
| Improper waste disposal (electronic waste) | Environmental damage, hazardous waste | IT staff, environmental staff | 4 | 3 | 12 | - Use proper electronic waste disposal bins - Follow legal e-waste regulations - Train staff on disposal procedures - Partner with e-waste recycling companies - Maintain waste logs - Monitor hazardous waste handling - Conduct routine inspections | 2 | 2 | 4 |
| Dust accumulation | Hardware damage, poor air quality | IT staff, maintenance workers | 3 | 3 | 9 | - Regularly clean server room - Use dust filters on cooling systems - Maintain proper air circulation - Train staff on dust management - Implement dust-free flooring - Schedule routine cleaning - Use static-free cleaning materials | 2 | 2 | 4 |
| Faulty server racks (collapse, instability) | Equipment damage, falling injuries | IT staff | 4 | 4 | 16 | - Secure server racks properly - Use earthquake-resistant mounts - Inspect racks regularly - Avoid overloading shelves - Train staff on rack stability - Install safety barriers - Conduct routine structural checks | 2 | 2 | 4 |
| Noise pollution (server fans, alarms) | Hearing discomfort, long-term hearing issues | IT staff | 3 | 3 | 9 | - Use noise-reducing materials - Train staff on hearing protection - Limit exposure time in loud environments - Install quieter server cooling systems - Use noise cancellation headsets - Monitor noise levels - Conduct regular noise assessments | 2 | 2 | 4 |
| Blocked emergency exits | Danger in emergency situations | IT staff, security personnel | 5 | 5 | 25 | - Keep emergency exits clear - Install emergency lighting - Conduct regular evacuation drills - Train staff on emergency procedures - Use clear signage for exits - Monitor exit pathways - Ensure all staff know emergency routes | 2 | 2 | 4 |

Risk Assessment Matrix: L = Likelihood, S = Severity, R = Risk Rating (L × S)

Assessment Date: 1/27/2026